Rap i Clea r ®  1.47

www.sunjinlab.com

Product Information

SunJin Lab

Optical Clearing Innovation

# RapiClear ® 1.47

Ready-to-use

Making biological sample transparent rapidly

# INTRODUCTION

RapiClear®  is  a  water-soluble  clearing  reagent  for  enhanced visualization of both fluorescence and non-fluorescence labeled biological   specimens.   It   can   be   applied   in   viewing   cell morphology in tissues of mammals, plants, insects, and even the biomaterial  scaffold  such  as  collage,  chitosan,  and  cellulose. Targets  that   are  usually   indistinguishable  or  blurry  due   to specimen  opacity  can  now  be  clearly  visualized  simply  by applying RapiClear® in the mounting procedure.

Advantages of RapiClear®  1.47

1.    Samples  can  be  directly  transferred   from  water,  buffer solutions, and glycerin into RapiClear®  1.47 medium.

2.    The transparent  effect is reversible if samples re-immerse in water or buffer solutions.

3.    RapiClear®  1.47 is ready-to-use, no need to be centrifuged.

4.    RapiClear®  1.47  allows visualization of internal targets up to 0.5 mm below tissue surface.

5.    Application  of RapiClear®  1.47  will not  introduce sample deformation.

# OPERATION

1.    For effective clearing, 4% paraformaldehyde fixed samples should be treated with 2% PBST overnight at RT before mounted in RapiClear®  1.47.

2.    The volume of RapiClear®  1.47 used and the time required for clearing should be adjusted according to the tissue size. Basically, 5 times the sample volume of RapiClear®  1.47 is recommend.  Tiny  tissue  (e.g.,  fly  brain)  treated  with RapiClear®     1.47   may   become    completely   transparent within  1  minute.  Tissue  slices  (e.g.,  ~0.5mm  thickness) may become transparent in 30~60 minutes.

Note: Pre-warm the RapiClear®  to 37℃ before mounting can facilitate solution penetration.

September 2017

3.    Cleared    sample   mounting    in    fresh   RapiClear®       1.47 between   two   coverslips   separated   by   spacer    stickers (iSpacer,   SunJin   Lab   Co.)   is   recommend   to   prevent flattening.

4.    Press gently around the edges of the coverslip to ensure a safety seal.

5.    Remove carefully the exceeding  solution with Kimwipes.

6.    Fill the space outside the iSpacer with clear nail polish to seal the edges between the two coverslips.

For more  information, please  check the “Demonstration”  in our website: www.sunjinlab.com

# STABILITY AND STORAGE

RapiClear®  1.47 can be  stored at -15℃~RT. Invert the bottles several times to mix the contents before use.

# WARNING AND PRECAUTIONS

Repeated   exposure   may   cause   skin   dryness   or   cracking. Preventing skin contact is suggested.

# TECHNICAL ASSITANCE

E-mail: sunjinlab@gmail.com

Manufacturer:

SunJin Lab Co.

www.sunjinlab.com

4F., No. 11, Ln. 22, Bo’ai St., East Dist., Hsinchu City 30068, Taiwan

Phone: 886-3-516-5085 Fax: 886-3-516-5087

# Immunostaining Protocol

1.    Animal fixed by 4% paraformaldehyde solution via cardiac perfusion.

2.    Tissues  can be sectioned manually (e.g., 500µm), using a vibratome,  cryo-section,  or  a  tissue  matrix  with  razor blades.

3.    Fix   the   tissue    slices   in    a   24-well   plate    with   4% paraformaldehyde solution on an orbital shaker or rocker for 2 h at RT.

4.    Wash with PBS 3 times,  10 min/time.

5.    Transfer samples into 2% PBST (2% Triton X-100 in PBS solution) overnight at RT for permeabilization.

6.    Keep the specimen in blocking buffer on an orbital shaker

。

or rocker at 4 C overnight. *Blocking buffer (10% normal goat serum,  1% Triton-X  100,  and 0.2%  sodium azide in PBS): Store this solution for only a short period of time

。

(overnight at most) at 4 C.

7.    Incubate the specimen with primary antibody in a 24-well

。

plate (500 μl/well) on an orbital shaker or rocker at 4 C for 2 days. *Ab dilution buffer (1% normal goat serum, 0.2% Triton-X 100, and 0.2% sodium azide in PBS) : Store this solution for only a short period of time (overnight at most)

。

at 4 C.

8.    Wash the specimen with washing buffer for >1 hrs at room temperature  for  2  times.  Then,  keep  the  specimen  in

。

washing buffer on an orbital shaker or rocker at 4 C  for overnight.  (Note:  washing  step  is  quite  important  for immunostaining!)  *Washing  buffer  (3%  NaCl  and  0.2% Triton-X  100  in PBS):  Store this  nonhazardous buffer at

。

4 C.

10.  Wash the specimen with washing buffer for >1 hrs at room temperature  for  2  times.  Then,  keep  the  specimen  in

。

washing buffer on an orbital shaker or rocker at 4 C  for overnight.  (Note:  washing  step  is  quite  important  for immunostaining!)

11.  DAPI or SYTOX for nuclear staining if needed.

12.  Wash with PBS 3 times, 30 min/time.

13.  Transfer the specimen to a 24-well plate with the RapiClear (RC) reagent  with ~5 times  of the  sample  volume.  Pre- warm  the  RC  to   37 ℃  before   mounting  can  facilitate solution penetration.

14.  Place the plate on an orbital shaker or rocker to gently mix and immerse the specimen with the RC reagent for minutes ~ hours at RT.

15.  Mount the cleared  specimen in fresh RC reagent between two  coverslips  separated  by  iSpacer®    sticker(s).   Press gently around the sticker to seal the coverslips.

16.  Remove the extra solution at the edges with Kimwipes.

17.  Fill the space outside the iSpacer with clear nail polish to seal the edges between the two coverslips.

18.  The images are acquired by a confocal microscopy system.

9.    Incubate  the   specimen  with   secondary  antibody  on   an

。

orbital shaker or rocker at 4 C for 1 day.

Most SunJin Lab’s products and product applications are covered by U.S. and international patents.

Copyright 2015 SunJin Lab Co. All rights reserved. This information is subject to change without notice.